## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
| Project Name |  | ST. CATHERINE OF SIENA PARISH CENTER
Project Address
| Scope: |  | MEP
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR HOUR | TOTAL LABOR HOUR | LABOR WAGE/ HOUR | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
|  | 22 | DIVISION 22- PLUMBING
FIXTURES
8 |  |  | Gas Meter | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  | Water Meter | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | Water Hammer Arresstor | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | WATER CLOSET AS: WC-1 MFR: ZURN MODEL: Z5615-BWL | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | ADA WATER CLOSET AS: WC-2 MFR: WC-2 MODEL: Z6200-HEY-YB-YC | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | URINAL AS: UR-1 MFR: ZURN MODEL: Z6203-WS1-YB-YC | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | LAVATORY AS: L-1 MFR: ZURN MODEL: Z8743-PC | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | WARMING KITCHEN SINK AS: SK-1 MFR: ELKAY MODEL: LK35 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | KITCHENETTE/BREAK ROOM SINK AS: SK-2 MFR: SPS MODEL: CTSLECPD | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | WARMING KITCHEN SINK AS: SK-3 MFR: ELKAY MODEL: LK35 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | SHOWER AS: SH-1 MFR: SYMMONS MODEL: S3508BSTN15TRM | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | MOP SINK AS: MS-1 MFR: STERN WILLIAMS MODEL: SB-902 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | HI/LO DRINKING FOUNTAIN AS: DF-1 MFR: DEARBORN BRASS MODEL: A9703WBG | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  | Recirculation Pump As: RCP-1 Mfr & Model: | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOMESTIC WATER PIPING SPECIALITIES
22 |  |  | ICE MAKER OUTLET BOX AS: IMB-1 MFR: OATEY MODA | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | FREEZELESS HYDRANT AS: HB-1 MFR: JR SMITH MODEL: 5509QT-R | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | FREEZELESS ROOF HYDRANT AS: HB-2 MFR: JR SMITH MODEL: 5903 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | FIRE PREVENTION BACKFLOW PREVENTER AS: BFP-2 MFR: ZURN MODEL: 350ASTDA | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SANITARY WASTE PIPING SPECIALITIES
26 |  |  | 2" FLOOR DRAIN AS: FD-1 MFR: JR SMITH MODEL: 2005-A | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | FLOOR CLEAN OUT AS: FCO MFR: JR SMITH MODEL: 4031 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NATURAL GAS REGULATOR
28 |  |  | GAS REGULATOR AS: R1 MFR: SENSUS CAPACITY (CFH) : 1100 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | GAS REGULATOR AS: R2 MFR: SENSUS CAPACITY (CFH) : 200 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | GAS REGULATOR AS: R3 MFR: SENSUS CAPACITY (CFH) : 720 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | GAS REGULATOR AS: R4 MFR: SENSUS CAPACITY (CFH) : 750 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | GAS REGULATOR AS: R5 MFR: SENSUS CAPACITY (CFH) : 390 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | GAS REGULATOR AS: R6 MFR: SENSUS CAPACITY (CFH) : 390 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAINAGE PIPING SPECIALITIES
34 |  |  | ROOF DRAIN AS: RD-1 MFR: JR SMITH MODEL: 1010 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  | DECK DRAIN AS: RD-2 MFR: JR SMITH MODEL: 1459 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER HEATER
36 |  |  | ELECTRIC WATER HEATER AS: EWH-A MFR: A.O. SMITH GOLD DVE | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUMP PUMPS
37 |  |  | Elevator Sump Pump As: ESP-1 34 Lbs MFR & MODEL: LIBERTY MODEL 247 VMF | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RECIRCULATION PUMP
38 |  |  | RECIRCULATION PUMP AS: RP-A MFR: TACO MODEL: 007 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIPES
GAS PIPING
39 |  |  | 1" Dia HPG Pipe | 372.47 | 5% | 391.0935 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | 3/4" Dia LPG Pipe | 44.63 | 5% | 46.8615 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 1-1/2" Dia LPG Pipe | 28.47 | 5% | 29.8935 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | 1-1/2" Dia HPG Pipe | 116.74 | 5% | 122.577 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPING
43 |  |  | 2" Dia Vent Pipe | 453.67 | 5% | 476.3535 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  | 3" Dia Vent Pipe | 201.94 | 5% | 212.037 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  | 4" Dia Vent Pipe | 12.09 | 5% | 12.6945 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPING
46 |  |  | 4" Dia Waste Pipe | 278.82 | 5% | 292.761 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | 3" Dia Waste Pipe | 165.19 | 5% | 173.4495 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  | 2" Dia Waste Pipe | 270.17 | 5% | 283.6785 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  | 1/2" Dia Waste Pipe | 25.5 | 5% | 26.775 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | 3" Dia Grease Waste Pipe | 163.06 | 5% | 171.213 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  | 2" Dia Grease Waste Pipe | 32.57 | 5% | 34.1985 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPING
52 |  |  | 3" Dia Storm Drain Pipe | 30.51 | 5% | 32.0355 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | 4" Dia Storm Drain Pipe | 193.73 | 5% | 203.4165 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  | 6" Dia Storm Drain Pipe | 72.41 | 5% | 76.0305 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | 8" Dia Storm Drain Pipe | 45.79 | 5% | 48.0795 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DOMESTIC WATER PIPING
56 |  |  | 3" Dia Domestic Water Pipe | 386.76 | 5% | 406.098 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | 2" Dia Domestic Water Pipe | 536.79 | 5% | 563.6295 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  | 1/2" Dia Domestic Water Pipe | 404.6 | 5% | 424.83 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | 3/4" Dia Domestic Water Pipe | 1202.4 | 5% | 1262.52 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  | 1-1/2" Dia Domestic Water Pipe | 24.63 | 5% | 25.8615 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE PROTECTION
61 |  |  | Sprinkler Head | 216 | 0% | 216 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  | Sidewall Sprinkler | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE PIPES
63 |  |  | 6" Dia Fire Pipe | 274.73 | 5% | 288.4665 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  | 8" Dia Fire Pipe | 315.87 | 5% | 331.6635 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 4" Dia Fire Pipe | 93.72 | 5% | 98.406 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
|  | 23 | DIVISION 23- HVAC
FIXTURES
66 |  |  | Outside Air Unit As: OAU-1 3800CFM Make&Model: CAPTIVEAIRE CASRTU3-l.200-24-20T-ERV | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  | Kitchen Hood Exhaust As: KEF-1 900CFM Make&Model: CAPTIVEAIRE USBI-RM | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  | Kitchen Hood Make-Up As: KSF-1 700CFm Make&Model: CAPTIVEAIRE SIF9DD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  | Roof Top Unit As: RTU/2-1 3370CFM (To Be Confirmed) | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR HANDLING UNITS
70 |  |  | Air Handling Unit As: AHU/1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  | Air Handling Unit As: AHU/1-2 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  | Air Handling Unit As: AHU/1-3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | Air Handling Unit As: AHU/1-4 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  | Air Handling Unit As: AHU/1-5 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | Air Handling Unit As: AHU/1-6 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  | Air Handling Unit As: AHU/2-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  | Air Handling Unit As: AHU/2-2 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | Air Handling Unit As: AHU/2-3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  | Air Handling Unit As: AHU/2-4 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | Air Handling Unit As: AHU/2-5 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  | Air Handling Unit As: AHU/2-6 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | Air Handling Unit As: AHU/3-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | Air Handling Unit As: AHU/3-2 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  | Air Handling Unit As: AHU/3-3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  | Air Handling Unit As: AHU/3-4 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  | Air Handling Unit As: AHU/3-5 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | (Note: Details not Given) |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | MINI-SPLIT SYSTEMS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OUTDOOR UNITS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  | OUTDOOR UNIT AS: MSHP/1-1 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | OUTDOOR UNIT AS: MSHP/1-2 MFR & MODEL: CARRIER-38MAQB24R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | OUTDOOR UNIT AS: MSHP/1-3 MFR & MODEL: CARRIER-38MAQB12R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | OUTDOOR UNIT AS: MSHP/1-4 MFR & MODEL: CARRIER-38MAQB24R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | OUTDOOR UNIT AS: MSHP/1-5 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  | OUTDOOR UNIT AS: MSHP/1-6 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  | OUTDOOR UNIT AS: MSHP/1-7 MFR & MODEL: CARRIER-38MAQB12R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | OUTDOOR UNIT AS: MSHP/1-8 MFR & MODEL: CARRIER-38MAQB12R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | OUTDOOR UNIT AS: MSHP/2-1 MFR & MODEL: CARRIER-38MBRQ48--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  | OUTDOOR UNIT AS: MSHP/2-2 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | OUTDOOR UNIT AS: MSHP/2-3 MFR & MODEL: CARRIER-38MBRQ48--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | OUTDOOR UNIT AS: MSHP/2-4 MFR & MODEL: CARRIER-38MAQB24R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | OUTDOOR UNIT AS: MSHP/2-5 MFR & MODEL: CARRIER-38MBRQ36--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  | OUTDOOR UNIT AS: MSHP/2-6 MFR & MODEL: CARRIER-38MBRQ36--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  | OUTDOOR UNIT AS: MSHP/3-1 MFR & MODEL: CARRIER-38MBRQ36--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  | OUTDOOR UNIT AS: MSHP/3-2 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | OUTDOOR UNIT AS: MSHP/3-3 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  | OUTDOOR UNIT AS: MSHP/3-4 MFR & MODEL: CARRIER-38MBRQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | OUTDOOR UNIT AS: MSHP/3-5 MFR & MODEL: CARRIER-38MAQB24R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | OUTDOOR UNIT AS: MSHP/3-6 MFR & MODEL: CARRIER-38MAQB12R--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INDOOR UNITS
107 |  |  | INDOOR UNIT AS: MSAHU/1-1 MFR & MODEL: CARRIER-40MBDQ58--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | INDOOR UNIT AS: MSAHU/1-2 MFR & MODEL: CARRIER-40MBDQ24--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | INDOOR UNIT AS: MSAHU/1-3 MFR & MODEL: CARRIER-40MBDQ12--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | INDOOR UNIT AS: MSAHU/1-4 MFR & MODEL: CARRIER-40MBDQ24--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | INDOOR UNIT AS: MSAHU/1-5 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | INDOOR UNIT AS: MSAHU/1-6 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  | INDOOR UNIT AS: MSAHU/1-7 MFR & MODEL: CARRIER-40MAQB12B--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | INDOOR UNIT AS: MSAHU/1-8 MFR & MODEL: CARRIER-40MAQB12B--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  | INDOOR UNIT AS: MSAHU/2-1 MFR & MODEL: CARRIER-40MBABQ48XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | INDOOR UNIT AS: MSAHU/2-2 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | INDOOR UNIT AS: MSAHU/2-3 MFR & MODEL: CARRIER-40MBABQ48XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | INDOOR UNIT AS: MSAHU/2-4 MFR & MODEL: CARRIER-40MBABQ24XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  | INDOOR UNIT AS: MSAHU/2-5 MFR & MODEL: CARRIER-40MBABQ36XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | INDOOR UNIT AS: MSAHU/2-6 MFR & MODEL: CARRIER-40MBABQ36XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  | INDOOR UNIT AS: MSAHU/3-1 MFR & MODEL: CARRIER-40MBABQ36XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  | INDOOR UNIT AS: MSAHU/3-2 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  | INDOOR UNIT AS: MSAHU/3-3 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  | INDOOR UNIT AS: MSAHU/3-4 MFR & MODEL: CARRIER-40MBABQ60XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  | INDOOR UNIT AS: MSAHU/3-5 MFR & MODEL: CARRIER-40MBABQ24XA3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  | INDOOR UNIT AS: MSAHU/3-6 MFR & MODEL: CARRIER-40MAQB12B--3 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES
127 |  |  | Linear Slot As: R-2 72"x2" | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
128 |  |  | Linear Slot As: R-372"x2" | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  | Return Grille As: R-2 22"x22" | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
130 |  |  | Return Grille As: R-1A 24"x24" | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
131 |  |  | Louvered Face As: E-2A 50CFM Mfr: PRICE Model: 520 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
132 |  |  | Louvered Face As: E-2A 75CFM Mfr: PRICE Model: 520 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
133 |  |  | Louvered Face As: E-2A 150CFM Mfr: PRICE Model: 520 | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 |  |  | Louvered Face As: E-2A 350CFM Mfr: PRICE Model: 520 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 |  |  | Louvered Face As: E-2A 700CFM Mfr: PRICE Model: 520 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
136 |  |  | Plaque Face As: S-1A 25CFM Mfr: PRICE Model: SPD-1-1 | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
137 |  |  | Plaque Face As: S-1A 30CFM Mfr: PRICE Model: SPD-1-1 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  | Plaque Face As: S-1A 35CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  | Plaque Face As: S-1A 40CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
140 |  |  | Plaque Face As: S-1A 50CFM Mfr: PRICE Model: SPD-1-1 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  | Plaque Face As: S-1A 70CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  | Plaque Face As: S-1A 75CFM Mfr: PRICE Model: SPD-1-1 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
143 |  |  | Plaque Face As: S-1A 90CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
144 |  |  | Plaque Face As: S-1A 100CFM Mfr: PRICE Model: SPD-1-1 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145 |  |  | Plaque Face As: S-1A 150CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
146 |  |  | Plaque Face As: S-1B 125CFM Mfr: PRICE Model: SPD-1-1 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  | Plaque Face As: S-1B 135CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
148 |  |  | Plaque Face As: S-1B 150CFM Mfr: PRICE Model: SPD-1-1 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
149 |  |  | Plaque Face As: S-1B 160CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150 |  |  | Plaque Face As: S-1B 200CFM Mfr: PRICE Model: SPD-1-1 | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  | Plaque Face As: S-1B 210CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 |  |  | Plaque Face As: S-1B 215CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  | Plaque Face As: S-1C 210CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  | Plaque Face As: S-1C 250CFM Mfr: PRICE Model: SPD-1-1 | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155 |  |  | Plaque Face As: S-1C 255CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  | Plaque Face As: S-1C 260CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
157 |  |  | Plaque Face As: S-1C 275CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
158 |  |  | Plaque Face As: S-1C 280CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 |  |  | Plaque Face As: S-1C 325CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
160 |  |  | Plaque Face As: S-1C 335CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161 |  |  | Plaque Face As: S-1C 340CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
162 |  |  | Plaque Face As: S-1C 350CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
163 |  |  | Plaque Face As: S-1D 550CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
164 |  |  | Ceiling Diffuser As: S-2B 175CFM Mfr: PRICE Model: LCMD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
165 |  |  | Ceiling Diffuser As: S-2C 350CFM Mfr: PRICE Model: SPD-1-1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
166 |  |  | Ceiling Diffuser As: S-2C 250CFM Mfr: PRICE Model: SPD-1-1 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
167 |  |  | Sidewall Register As: S-3A 25CFM Mfr: PRICE Model: 520 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  | Sidewall Register As: S-3A 50CFM Mfr: PRICE Model: 520 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  | Sidewall Register As: S-3B 150CFM Mfr: PRICE Model: 520 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170 |  |  | Sidewall Register As: S-3B 75CFM Mfr: PRICE Model: 520 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  | Sidewall Register As: S-3C 125CFM Mfr: PRICE Model: 520 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
172 |  |  | Linear Slot As: S-4 225CFM Mfr: PRICE Model: AS220 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
173 |  |  | Linear Slot As: S-4 250CFM Mfr: PRICE Model: AS220 | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
174 |  |  | Linear Slot As: S-4 275CFM Mfr: PRICE Model: AS220 | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
175 |  |  | Linear Slot As: S-4 330CFM Mfr: PRICE Model: AS220 | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  | Linear Slot As: S-4 360CFM Mfr: PRICE Model: AS220 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
177 |  |  | Linear Slot As: S-4 365CFM Mfr: PRICE Model: AS220 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
178 |  |  | Linear Slot As: S-4 385CFM Mfr: PRICE Model: AS220 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  | Linear Slot As: S-4 390CFM Mfr: PRICE Model: AS220 | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180 |  |  | Linear Bar Grille As: S-5 450CFM Mfr: PRICE Model: LBP | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DAMPERS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
181 |  |  | Fire Damper | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
182 |  |  | Manual Damper | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  | Automatic Damper | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
184 |  |  | Fire Smoke Damper | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
185 |  |  | Automatic Balancing Damper | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DUCTS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | FLEXIBLE DUCTS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
186 |  |  | 6" Dia Flexible Duct | 269.49 | 5% | 282.9645 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  | 4" Dia Flexible Duct | 10.87 | 5% | 11.4135 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
188 |  |  | 8" Dia Flexible Duct | 202.15 | 5% | 212.2575 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  | 10" Dia Flexible Duct | 386.14 | 5% | 405.447 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  | 12" Dia Flexible Duct | 49.33 | 5% | 51.7965 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  | 14" Dia Flexible Duct | 7.83 | 5% | 8.2215 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ROUND DUCTS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  | 4" Dia Round Duct | 10.58 | 5% | 11.109 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
193 |  |  | 6" Dia Round Duct | 566.56 | 5% | 594.888 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  | 8" Dia Round Duct | 291.47 | 5% | 306.0435 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  | 10" Dia Round Duct | 204.17 | 5% | 214.3785 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
196 |  |  | 12" Dia Round Duct | 44.59 | 5% | 46.8195 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  | 13" Dia Round Duct | 11.04 | 5% | 11.592 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | RECTANGULAR DUCTS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
198 |  |  | 6"x4" Rectagular Duct | 2.41 | 5% | 2.5305 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  | 6"x8" Rectagular Duct | 45.45 | 5% | 47.7225 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  | 6"x10" Rectagular Duct | 30.75 | 5% | 32.2875 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  | 8"x10" Rectagular Duct | 16.01 | 5% | 16.8105 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  | 9"x9" Rectagular Duct | 34.99 | 5% | 36.7395 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
203 |  |  | 10"x10" Rectagular Duct | 53.12 | 5% | 55.776 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
204 |  |  | 11"x10" Rectagular Duct | 12.63 | 5% | 13.2615 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
205 |  |  | 12"x9" Rectagular Duct | 34.22 | 5% | 35.931 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
206 |  |  | 12"x10" Rectagular Duct | 196.21 | 5% | 206.0205 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
207 |  |  | 12"x12" Rectagular Duct | 79.16 | 5% | 83.118 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
208 |  |  | 13"x12" Rectagular Duct | 9.63 | 5% | 10.1115 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
209 |  |  | 14"x10" Rectagular Duct | 49.05 | 5% | 51.5025 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
210 |  |  | 14"x12" Rectagular Duct | 59.69 | 5% | 62.6745 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
211 |  |  | 14"x14" Rectagular Duct | 52.36 | 5% | 54.978 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212 |  |  | 15"x7" Rectagular Duct | 18.09 | 5% | 18.9945 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
213 |  |  | 15"x12" Rectagular Duct | 18.79 | 5% | 19.7295 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
214 |  |  | 16"x10" Rectagular Duct | 43.76 | 5% | 45.948 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
215 |  |  | 16"x12" Rectagular Duct | 129.03 | 5% | 135.4815 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
216 |  |  | 16"x14" Rectagular Duct | 57.61 | 5% | 60.4905 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
217 |  |  | 18"x12" Rectagular Duct | 24.34 | 5% | 25.557 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
218 |  |  | 18"x14" Rectagular Duct | 79.62 | 5% | 83.601 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
219 |  |  | 20"x10" Rectagular Duct | 2.72 | 5% | 2.856 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
220 |  |  | 20"x12" Rectagular Duct | 94.56 | 5% | 99.288 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
221 |  |  | 20"x20" Rectagular Duct | 29.59 | 5% | 31.0695 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
222 |  |  | 22"x12" Rectagular Duct | 75.69 | 5% | 79.4745 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
223 |  |  | 24"x12" Rectagular Duct | 45.67 | 5% | 47.9535 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
224 |  |  | 24"x20" Rectagular Duct | 25.71 | 5% | 26.9955 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
225 |  |  | 26"x12" Rectagular Duct | 11.48 | 5% | 12.054 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
226 |  |  | 28"x12" Rectagular Duct | 3.99 | 5% | 4.1895 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
227 |  |  | 46"x20" Rectagular Duct | 4.26 | 5% | 4.473 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
228 |  |  | 45-1/2"x13-1/2" Rectagular Duct | 12.55 | 5% | 13.1775 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | PIPING |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
229 |  |  | 1" Dia Condensate Pipe | 178.12 | 5% | 187.026 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
230 |  |  | 2" Dia Condensate Pipe | 129.47 | 5% | 135.9435 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
231 |  |  | 3/8" Refrigerant Liquid Line | 517.5 | 5% | 543.375 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
232 |  |  | 1/4" Refrigerant Liquid Line | 192.5 | 5% | 202.125 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
233 |  |  | 5/8" Refrigerant Suction Line | 320 | 5% | 336 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
234 |  |  | 3/4" Refrigerant Suction Line | 195 | 5% | 204.75 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
235 |  |  | 1/2" Refrigerant Suction Line | 192.5 | 5% | 202.125 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | INSULATION |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | INTERNAL LINER |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
236 |  |  | 1" Thick Internal Linear On 6"x4" Rectagular Duct | 4.0167 | 10% | 4.4183 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
237 |  |  | 1" Thick Internal Linear On 6"x8" Rectagular Duct | 106.05 | 10% | 116.655 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
238 |  |  | 1" Thick Internal Linear On 6"x10" Rectagular Duct | 82 | 10% | 90.2 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
239 |  |  | 1" Thick Internal Linear On 8"x10" Rectagular Duct | 48.03 | 10% | 52.833 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
240 |  |  | 1" Thick Internal Linear On 9"x9" Rectagular Duct | 104.97 | 10% | 115.467 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
241 |  |  | 1" Thick Internal Linear On 10"x10" Rectagular Duct | 177.0667 | 10% | 194.7733 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
242 |  |  | 1" Thick Internal Linear On 11"x10" Rectagular Duct | 44.205 | 10% | 48.6255 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
243 |  |  | 1" Thick Internal Linear On 12"x9" Rectagular Duct | 119.77 | 10% | 131.747 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
244 |  |  | 1" Thick Internal Linear On 12"x10" Rectagular Duct | 719.4367 | 10% | 791.3803 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
245 |  |  | 1" Thick Internal Linear On 12"x12" Rectagular Duct | 316.64 | 10% | 348.304 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
246 |  |  | 1" Thick Internal Linear On 13"x12" Rectagular Duct | 40.125 | 10% | 44.1375 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
247 |  |  | 1" Thick Internal Linear On 14"x10" Rectagular Duct | 196.2 | 10% | 215.82 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
248 |  |  | 1" Thick Internal Linear On 14"x12" Rectagular Duct | 258.6567 | 10% | 284.5223 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
249 |  |  | 1" Thick Internal Linear On 14"x14" Rectagular Duct | 235.62 | 10% | 259.182 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
250 |  |  | 1" Thick Internal Linear On 15"x7" Rectagular Duct | 66.33 | 10% | 72.963 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251 |  |  | 1" Thick Internal Linear On 15"x12" Rectagular Duct | 84.555 | 10% | 93.0105 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
252 |  |  | 1" Thick Internal Linear On 16"x10" Rectagular Duct | 189.6267 | 10% | 208.5893 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
253 |  |  | 1" Thick Internal Linear On 16"x12" Rectagular Duct | 602.14 | 10% | 662.354 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
254 |  |  | 1" Thick Internal Linear On 16"x14" Rectagular Duct | 288.05 | 10% | 316.855 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
255 |  |  | 1" Thick Internal Linear On 18"x12" Rectagular Duct | 121.7 | 10% | 133.87 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
256 |  |  | 1" Thick Internal Linear On 18"x14" Rectagular Duct | 424.64 | 10% | 467.104 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
257 |  |  | 1" Thick Internal Linear On 20"x10" Rectagular Duct | 13.6 | 10% | 14.96 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
258 |  |  | 1" Thick Internal Linear On 20"x12" Rectagular Duct | 504.32 | 10% | 554.752 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
259 |  |  | 1" Thick Internal Linear On 20"x20" Rectagular Duct | 197.2667 | 10% | 216.9933 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
260 |  |  | 1" Thick Internal Linear On 22"x12" Rectagular Duct | 403.68 | 10% | 444.048 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
261 |  |  | 1" Thick Internal Linear On 24"x12" Rectagular Duct | 274.02 | 10% | 301.422 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
262 |  |  | 1" Thick Internal Linear On 24"x20" Rectagular Duct | 188.54 | 10% | 207.394 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
263 |  |  | 1" Thick Internal Linear On 26"x12" Rectagular Duct | 72.7067 | 10% | 79.9773 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
264 |  |  | 1" Thick Internal Linear On 28"x12" Rectagular Duct | 26.6 | 10% | 29.26 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
265 |  |  | 1" Thick Internal Linear On 46"x20" Rectagular Duct | 46.86 | 10% | 51.546 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
266 |  |  | 1" Thick Internal Linear On 45-1/2"x13-1/2" Rectagular Duct | 125.5 | 10% | 138.05 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | EXTERNAL WRAPPER |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
267 |  |  | 2" Thick External Wrapper On 4" Dia Round Duct | 10.963 | 10% | 12.0593 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
268 |  |  | 2" Thick External Wrapper On 6" Dia Round Duct | 889.4992 | 10% | 978.4491 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
269 |  |  | 2" Thick External Wrapper On 8" Dia Round Duct | 613.1946 | 10% | 674.514 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
270 |  |  | 2" Thick External Wrapper On 10" Dia Round Duct | 557.7516 | 10% | 613.5268 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
271 |  |  | 2" Thick External Wrapper On 12" Dia Round Duct | 140.0126 | 10% | 154.0139 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
272 |  |  | 2" Thick External Wrapper On 13" Dia Round Duct | 37.7855 | 10% | 41.5641 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
273 |  |  | 2" Thick External Wrapper On 6"x4" Rectagular Duct | 4.0167 | 10% | 4.4183 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
274 |  |  | 2" Thick External Wrapper On 6"x8" Rectagular Duct | 106.05 | 10% | 116.655 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
275 |  |  | 2" Thick External Wrapper On 6"x10" Rectagular Duct | 82 | 10% | 90.2 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
276 |  |  | 2" Thick External Wrapper On 8"x10" Rectagular Duct | 48.03 | 10% | 52.833 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
277 |  |  | 2" Thick External Wrapper On 9"x9" Rectagular Duct | 104.97 | 10% | 115.467 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
278 |  |  | 2" Thick External Wrapper On 10"x10" Rectagular Duct | 177.0667 | 10% | 194.7733 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
279 |  |  | 2" Thick External Wrapper On 11"x10" Rectagular Duct | 44.205 | 10% | 48.6255 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
280 |  |  | 2" Thick External Wrapper On 12"x9" Rectagular Duct | 119.77 | 10% | 131.747 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
281 |  |  | 2" Thick External Wrapper On 12"x10" Rectagular Duct | 719.4367 | 10% | 791.3803 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
282 |  |  | 2" Thick External Wrapper On 12"x12" Rectagular Duct | 316.64 | 10% | 348.304 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
283 |  |  | 2" Thick External Wrapper On 13"x12" Rectagular Duct | 40.125 | 10% | 44.1375 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
284 |  |  | 2" Thick External Wrapper On 14"x10" Rectagular Duct | 196.2 | 10% | 215.82 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
285 |  |  | 2" Thick External Wrapper On 14"x12" Rectagular Duct | 258.6567 | 10% | 284.5223 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
286 |  |  | 2" Thick External Wrapper On 14"x14" Rectagular Duct | 235.62 | 10% | 259.182 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
287 |  |  | 2" Thick External Wrapper On 15"x7" Rectagular Duct | 66.33 | 10% | 72.963 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
288 |  |  | 2" Thick External Wrapper On 15"x12" Rectagular Duct | 84.555 | 10% | 93.0105 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
289 |  |  | 2" Thick External Wrapper On 16"x10" Rectagular Duct | 189.6267 | 10% | 208.5893 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
290 |  |  | 2" Thick External Wrapper On 16"x12" Rectagular Duct | 602.14 | 10% | 662.354 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
291 |  |  | 2" Thick External Wrapper On 16"x14" Rectagular Duct | 288.05 | 10% | 316.855 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
292 |  |  | 2" Thick External Wrapper On 18"x12" Rectagular Duct | 121.7 | 10% | 133.87 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
293 |  |  | 2" Thick External Wrapper On 18"x14" Rectagular Duct | 424.64 | 10% | 467.104 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
294 |  |  | 2" Thick External Wrapper On 20"x10" Rectagular Duct | 13.6 | 10% | 14.96 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
295 |  |  | 2" Thick External Wrapper On 20"x12" Rectagular Duct | 504.32 | 10% | 554.752 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
296 |  |  | 2" Thick External Wrapper On 20"x20" Rectagular Duct | 197.2667 | 10% | 216.9933 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
297 |  |  | 2" Thick External Wrapper On 22"x12" Rectagular Duct | 403.68 | 10% | 444.048 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
298 |  |  | 2" Thick External Wrapper On 24"x12" Rectagular Duct | 274.02 | 10% | 301.422 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
299 |  |  | 2" Thick External Wrapper On 24"x20" Rectagular Duct | 188.54 | 10% | 207.394 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
300 |  |  | 2" Thick External Wrapper On 26"x12" Rectagular Duct | 72.7067 | 10% | 79.9773 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
301 |  |  | 2" Thick External Wrapper On 28"x12" Rectagular Duct | 26.6 | 10% | 29.26 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
302 |  |  | 2" Thick External Wrapper On 46"x20" Rectagular Duct | 46.86 | 10% | 51.546 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
303 |  |  | 2" Thick External Wrapper On 45-1/2"x13-1/2" Rectagular Duct | 125.5 | 10% | 138.05 | SF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
|  | 26 | DIVISION 26- ELECTRICAL
LIGHT FIXTURES
304 |  |  | RECESSED DOWNLIGHT AS: F1 MFR & MODEL: HALO-ESICAT//5020 | 140 | 0% | 140 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
305 |  |  | RECESSED DOWNLIGHT AS: F1A MFR & MODEL: HALO-ESICAT//5021 | 105 | 0% | 105 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
306 |  |  | LINEAR RECESSED FIXTURE 4' AS: F2(4') MFR & MODEL: PINNACLE-EV4D-A-830VHO-4'-G1-U-FSD-1-0-W-MOD | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
307 |  |  | LINEAR RECESSED FIXTURE 6' AS: F2(6') MFR & MODEL: PINNACLE-EV4D-A-830VHO-6'-G1-U-FSD-1-1-W-MOD | 54 | 0% | 54 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
308 |  |  | LINEAR RECESSED FIXTURE8' AS: F2(8') MFR & MODEL: PINNACLE-EV4D-A-830VHO-8'-G1-U-FSD-1-2-W-MOD | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
309 |  |  | LINEAR RECESSED FIXTURE 12' AS: F2(12') MFR & MODEL: PINNACLE-EV4D-A-830VHO-12'-G1-U-FSD-1-3-W-MOD | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
310 |  |  | LINEAR PENDANT FIXTURE AS: F3 MFR & MODEL: PINNACLE-EX4D-A-N-830VHO-4'-AC24JB-U-FSD-1-0-W-MOD | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
311 |  |  | 2 X 2 LAY-IN AS: F4 MFR & MODEL: METALUX-22CZSXT3-UNV | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
312 |  |  | 2 X 2 LAY-IN AS: F4 E MFR & MODEL: METALUX-22CZSXT3-UNV-EL14W | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
313 |  |  | DECORATIVE PENDANT LIGHT 58" AS: F5 (58") MFR & MODEL: FRIC VERT-P65-58"-LW-A-U-O-R7-CX | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
314 |  |  | DECORATIVE PENDANT LIGHT 84" AS: F5 (84") MFR & MODEL: FRIC VERT-P65-84"-LW-A-U-O-R7-CX | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
315 |  |  | DECORATIVE WALL SCONCE LIGHT AS: F6 MFR & MODEL: BROWNLEE-1125-H16-30K | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
316 |  |  | RESTROOM VANITY LIGHT AS: F7 MFR & MODEL: WAC-WS-73123-3000K-BN | 14 | 0% | 14 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
317 |  |  | UNDER CABINET LIGHT AS: F8 MFR & MODEL: DIODE LED-DI-24V-BLBSC2-30- | 72 | 5% | 75.6 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
318 |  |  | STAIR LIGHT AS: F9 MFR & MODEL: METALUX-4SWLED-40SL-LW-UNV-EL14W-L830-CD1-WLS-U | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
319 |  |  | PENDANT CYLINDER LIGHT AS: F10 MFR & MODEL: CREATIVE SYSTEM LTG-LP3-20-30K-50-WT-6-S-ST | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
320 |  |  | EXTERIOR WALL CYLINDER AS: F11 MFR & MODEL: CREATIVE SYSTEM LTG--LWD5-30-30K-80-WT-C-6-S | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
321 |  |  | DOOR TRANSOM LIGHT AS: F12 MFR & MODEL: LUMARK-XTOR1B-Y-PC1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
322 |  |  | WALL MOUNTED PARKING LIGHT AS: F13 MFR & MODEL: MCGRAW EDISON-GALEON-SA2-D-830-U-T4FT-ADJA-WM-DIM | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
323 |  |  | EXTERIOR WALL MOUNT CYLINDER LIGHT AS: F14 MFR & MODEL: CREATIVE SYSTEM LTG-LWU5-50-30-80-80-FR-C-3-S | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
324 |  |  | ARCH / SIGN UP LIGHT AS: F15 MFR & MODEL: BAGHELLI-BX910ECO-4-HT-HO-WT30-120V-277V-PC-PMBEX | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
325 |  |  | TERRACE STRIP LIGHT: F16 MFR & MODEL: TECH LIGHTING-700OSIKN92730B120 | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
326 |  |  | COVERED DRIVE WALL MOUNTED CYLINDER LIGHT AS: F17 MFR & MODEL: CREATIVE SYSTEM LTG-LWU5-50-30-10-80-FR-C-3-S | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
327 |  |  | COVERED DRIVE CEILING MOUNT CYLINDER LIGHT AS: F18 MFR & MODEL: CREATIVE SYSTEM LTG-LF5-30-30-50-C-3-S | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
328 |  |  | EXTERIOR PARISH ALLEY LIGHT AS: F19 MFR & MODEL: LUMARK-XTOR8B-Y-PC1 | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
329 |  |  | EXTERIOR STEP LIGHT AS: F23 MFR & MODEL: LIGMAN-RA-40692 | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
330 |  |  | CANOPY LIGHT AS: F24 MFR & MODEL: PINNACLE-EX3-WET-N-830VHO-4'-IND-S-U-FSD-1-0-W | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
331 |  |  | PARISH ARCH UP LIGHT AS: F27 MFR & MODEL: CREATIVE SYSTEM LTG-LDW5-30-30K-10-CL-C-3-S | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
332 |  |  | ELEVATOR PIT LIGHT AS: PIT MFR & MODEL: ALL PRO-4APVTLD-SL3C3 | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
333 |  |  | EDGE LIT EXIT LIGHT AS: EX MFR & MODEL: SURE LITES-EUS70R | 39 | 0% | 39 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
334 |  |  | WEATHER RATED EXIT LIGHT AS: EXWP MFR & MODEL: SURE LITES-LPXW71RSD | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
335 |  |  | Integral Generator Emergency Light | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | LIGHTING CONTROLS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
336 |  |  | 3-Way Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
337 |  |  | Single Pole Switch | 10 | 0% | 10 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
338 |  |  | Single Pole Switch WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
339 |  |  | 3-Way Dimmer Switch | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
340 |  |  | Motor Rated Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
341 |  |  | Motor Rated Switch WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
342 |  |  | Occupancy Sensor Switch | 48 | 0% | 48 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
343 |  |  | Occupancy Sensor Switch WP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
344 |  |  | 3-Way Occupancy Sensor Switch | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
345 |  |  | Light Sync G3 Switch-1 Multi-Zone-Dim: LSG3-1 MZD | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
346 |  |  | Light Sync G3 Switch-2 Multi-Zone-Dim: LSG3-2 MZD | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
347 |  |  | Light Sync G3 Switch-3 Multi-Zone-Dim: LSG3-3 MZD | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SENSORS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
348 |  |  | Day Light Sensor: DT1 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
349 |  |  | Ultrasonic Low Voltage Occupancy Sensor: US2 | 32 | 0% | 32 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
350 |  |  | Ultrasonic Occupancy Sensor W/Day Light Sensor: DT2 MV | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | OUTLETS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
351 |  |  | Data Outlet | 43 | 0% | 43 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
352 |  |  | Floor Box Data Outlet | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | RECEPTACLES |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
353 |  |  | Duplex Receptacle | 242 | 0% | 242 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
354 |  |  | Duplex Receptacle GFCI | 69 | 0% | 69 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
355 |  |  | Floor Box Quad Receptacle | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
356 |  |  | Duplex Receptacle GFCI WP | 46 | 0% | 46 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
357 |  |  | Wall Mounted Quad Receptacle | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
358 |  |  | Quad Receptacle & Data Floor Box | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | DISCONNECT SWITCHES |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
359 |  |  | 60 AMP, 2-Pole Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
360 |  |  | 60 AMP, 2-Pole Non Fused Disconnect Switch | 21 | 0% | 21 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
361 |  |  | 30 AMP, 1-Pole Non Fused Disconnect Switch | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
362 |  |  | 100 AMP, 3-Pole Non Fused Disconnect Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
363 |  |  | 200 AMP, 3-Pole Non Fused Disconnecct Switch | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | MISC ITEM |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
364 |  |  | Photocell | 11 | 0% | 11 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
365 |  |  | Junction Box | 39 | 0% | 39 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
366 |  |  | Remote Relay: R20 D | 31 | 0% | 31 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
367 |  |  | Heavy Duty Switch Paack: RD4 | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
368 |  |  | #1/0 GND, 1"C Grounding Rod | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
369 |  |  | 3/4" x 10 ft Cu Grounding Rod | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
370 |  |  | 240 KA Surge Protection Device | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | AUTOMATIC TRANSFER SWITCHES |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
371 |  |  | 60 AMP Automatic Transfer Switch: ATS-LS | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
372 |  |  | 225AMP Automatic Transfer Switch: ATS-OSB | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | BREAKERS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
373 |  |  | 15 AMP, 2-Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
374 |  |  | 20 AMP, 1-Pole Circuit Breaker | 157 | 0% | 157 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
375 |  |  | 20 AMP, 2-Pole Circuit Breaker | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
376 |  |  | 25 AMP, 1-Pole Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
377 |  |  | 25 AMP, 2-Pole Circuit Breaker | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
378 |  |  | 50 AMP, 2-Pole Circuit Breaker | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
379 |  |  | 60 AMP, 3-Pole Circuit Breaker | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
380 |  |  | 125 Amp, 3-Pole Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
381 |  |  | 200 Amp, 3-Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
382 |  |  | 225 Amp, 3-Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
383 |  |  | 400 Amp, 3-Pole Circuit Breaker | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
384 |  |  | 225 AMP, 3-Pole Circuit Breaker | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | PANELS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
385 |  |  | Electric Panel "MSWB" 1200 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
386 |  |  | Electric Panel "H1", 400 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
387 |  |  | Electric Panel "H1B", 400 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
388 |  |  | Electric Panel "H2", 225 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
389 |  |  | Electric Panel "H2B", 125 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
390 |  |  | Electric Panel "H3" 225 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
391 |  |  | Electric Panel "H3B" 400 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
392 |  |  | Electric Panel "LS1", 60 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
393 |  |  | Electric Panel "LS2", 60 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
394 |  |  | Electric Panel "OSB1", 225 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
395 |  |  | Electric Panel "OSB3", 225 AMP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
396 |  |  | EVO Distributed Control Panel W/Time Clock: EVO-TC | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | METERS |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
397 |  |  | Meter | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | GENERATOR |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
398 |  |  | 80 KW Generator | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | ALLOWANCE |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
399 |  |  | Allowance For Conduits | 15780 | 5% | 16569 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
400 |  |  | Allowance For Wiring | 47340 | 5% | 49707 | LF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | FIRE ALARM |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
401 |  |  | Generator Annunciator | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
402 |  |  | Fire Alarm Annunciator: FAA | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
403 |  |  | Fire Alarm Control Panel: FACP | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SECURITY
404 |  |  | 90 Degree Camera | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
405 |  |  | 90 Degree Camera WP | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
406 |  |  | 180 Degree Camera WP | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMMUNICATION
407 |  |  | Card Reader: CR | 20 | 0% | 20 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
408 |  |  | Wireless Access Point: WAP | 21 | 0% | 21 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [12 empty] | 0
[10 empty] | TOTAL LABOR COST |  | 0 | TOTAL MATERIAL COST | 0
|  |  | TOTAL AMOUNT | [12 empty] | 0
|  |  | CONTIGENCIES (5%) | [7 empty] | 5% |  |  |  |  | 0
|  |  | OVERHEAD AND PROFIT (10%) | [7 empty] | 10% |  |  |  |  | 0
|  |  | TAX (4.45%) | [7 empty] | 4.45% |  |  |  |  | 0
|  |  | PERFORMANCE AND PAYMENT BONDS | [7 empty] | 1.5% |  |  |  |  | 0
|  |  | TOTAL BASEBID | [12 empty] | 0

## LABOR SHEET
| Labor Type | Labor Rate
Plumbing | Plum | 146.5
Mechanical | Mech | 146.5
Electrical | Elec | 129.29
Manhour Increase Factor | 0%
Wastage
Each/Count | EA | 0%
Linear Footage | LF | 5%
Square Footage | SF | 10%
Square Yard | SY | 10%
Cubic Yard | CY | 10%
Lumpsum | LS | 0%
Survery | Survey | 0%
Stair Riser | RISER | 0%
Blocks Count | BLOCKS | 0%
Bags of Pre-Mix Mortar | BAGS | 0%
Linear Footage of Wall | LF.Wall | 10%
Pounds | LBS | 10%
Pieces | PCs | 0%
Location | LOC | 0%
Bundle | Bundle | 10%
Rolls | ROLLS | 0%
Boxes | BOX | 0%
Holeses | Holes | 0%
Pieces | PC | 0%
Tubes | Tube | 0%
Gallons | GA | 0%
Square of Roofing | SQ | 10%
N/A | N/A | 0%