## Takeoff Breakdown
DETAILED BREAKDOWN OF ITEMS
Project Name
Project Address
[6 empty] | Scope: |  | PLUMBING
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | UNIT PRICE (Labor & Material) | TRADE TOTAL
|  | 1 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Permits | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision and Coordination | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  | Submittals and Shop drawings | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  | Final Cleaning | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  | Mobilization Costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  | Scaffolding | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  | 2 | DIVISION 02-EXISTING CONDITIONS
8 |  |  | Remove Existing Water Pumps | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  | 22 | DIVISION 22- PLUMBING
WATER
TYPE ”L" HARD DRAWN COPPER
PIPES
9 |  |  | 150mm Cold Water Pipe | 9.4 | 5% | 9.87 | M | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  | 75mm Cold Water Pipe | 13.91 | 5% | 14.6055 | M | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  | 65mm Cold Water Pipe | 14.74 | 5% | 15.477 | M | 0 | 0 | 0 | 0 | 0 | 0
12 |  |  | 65mm Cold Water Pipe | 48.52 | 5% | 50.946 | M | 0 | 0 | 0 | 0 | 0 | 0
13 |  |  | 40mm Cold Water Pipe | 28.51 | 5% | 29.9355 | M | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  | 32mm Cold Water Pipe | 26 | 5% | 27.3 | M | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  | 20mm Cold Water Pipe | 647.98 | 5% | 680.379 | M | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  | 12mm Cold Water Pipe | 1026.36 | 5% | 1077.678 | M | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  | 20mm Hot Water Pipe | 322.65 | 5% | 338.7825 | M | 0 | 0 | 0 | 0 | 0 | 0
18 |  |  | 12mm Hot Water Pipe | 840.73 | 5% | 882.7665 | M | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  | 12mm Trap Primer Pipe | 30.44 | 5% | 31.962 | M | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  | 12mm Hot Water Return Pipe | 24.14 | 5% | 25.347 | M | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
21 |  |  | 150mm Dia 90 Degree Elbow | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  | 75mm Dia 90 Degree Elbow | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  | 60mm Dia 90 Degree Elbow | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  | 20mm Dia 90 Degree Elbow | 146 | 0% | 146 | EA | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  | 75mm Dia Tee | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  | 12mm Dia 90 Degree Elbow | 1114 | 0% | 1114 | EA | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  | 65mm Dia Tee | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  | 12mm Dia Tee | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  | 20mm Dia Tee | 207 | 0% | 207 | EA | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  | 75mm x 65 mm Dia Tee | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  | 20mm x 12mm Dia Tee | 213 | 0% | 213 | EA | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  | 50mm x 20mm Dia Tee | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  | 40mm x 20mm Dia Tee | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  | 50mm x 12mm Dia Tee | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  | 32mm x 20mm Dia Tee | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  | 75mm x 50mm Dia Reducer | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  | 50mm x 40mm Dia Reducer | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  | 65mm x 50mm Dia Reducer | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  | 40mm x 32mm Dia Reducer | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  | 65mm x 20mm Dia Reducer | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  | 20mm x 12mm Dia Reducer | 247 | 0% | 247 | EA | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  | 32mm x 12mm Dia Reducer | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  | 32mm x 20mm Dia Reducer | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
BELOW WASTE, VENT & GREASE WASTE PIPING
PIPING TO BE CSA-B181.1, CSA-B181.2, CSA-B182.1
PIPES
44 |  |  | 150mm Dia Waste Pipe | 43.08 | 5% | 45.234 | M | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  | 100mm Dia Waste Pipe | 52.88 | 5% | 55.524 | M | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  | 75mm Dia Waste Pipe | 84.05 | 5% | 88.2525 | M | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  | 50mm Dia Waste Pipe | 59.39 | 5% | 62.3595 | M | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  | 40mm Dia Waste Pipe | 6.47 | 5% | 6.7935 | M | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
49 |  |  | 100mm Dia Double Wye | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  | 75mm Dia Double Wye | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  | 150mm Dia Wye | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  | 100mm Dia Wye | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  | 75mm Dia Wye | 21 | 0% | 21 | EA | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  | 150mm x 100mm Dia Wye | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  | 50mm Dia Wye | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  | 50mm Dia Wye Combo | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  | 150mm x 75mm Dia Wye | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  | 100mm x 75mm Dia Wye | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  | 100mm x 50mm Dia Wye | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  | 75mm x 50mm Dia Wye | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  | 100mm x 50mm Dia Wye | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  | 150mm Dia 45 Degree Elbow | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  | 100mm Dia 45 Degree Elbow | 26 | 0% | 26 | EA | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  | 75mm Dia 45 Degree Elbow | 43 | 0% | 43 | EA | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  | 50mm Dia 45 Degree Elbow | 40 | 0% | 40 | EA | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  | 100mm x 75mm Dia Reducer | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  | 75mm x 50mm Dia Reducer | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
ABOVE WASTE, VENT PIPING
CSA-B181.2, IPEX SYSTEM 15XFR
PIPES
68 |  |  | 100mm Dia Waste Pipe | 15 | 5% | 15.75 | M | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  | 75mm Dia Waste Pipe | 516.3 | 5% | 542.115 | M | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  | 50mm Dia Waste Pipe | 349.92 | 5% | 367.416 | M | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  | 40mm Dia Vent Pipe | 766.66 | 5% | 804.993 | M | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  | 40mm Dia Waste Pipe | 23.28 | 5% | 24.444 | M | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  | 50mm Dia Vent Pipe | 54 | 5% | 56.7 | M | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
74 |  |  | 75mm Dia Double Wye | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  | 50mm Dia Wye | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  | 40mm Dia Wye | 28 | 0% | 28 | EA | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  | 75mm Dia Wye Combo | 91 | 0% | 91 | EA | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  | 50mm Dia Tee | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  | 50mm Dia Wye Combo | 27 | 0% | 27 | EA | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  | 75mm Dia Wye | 156 | 0% | 156 | EA | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  | 75mm x 50mm Dia Wye | 87 | 0% | 87 | EA | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  | 40mm Dia 90 Degree Elbow | 346 | 0% | 346 | EA | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  | 40mm Dia 45 Degree Elbow | 123 | 0% | 123 | EA | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  | 75mm Dia 45 Degree Elbow | 237 | 0% | 237 | EA | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  | 50mm Dia 45 Degree Elbow | 72 | 0% | 72 | EA | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  | 50mm Dia 45 Degree Elbow | 282 | 0% | 282 | EA | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  | 50mm Dia Wye | 15 | 0% | 15 | EA | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  | 50mm Dia Wye Combo | 108 | 0% | 108 | EA | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  | 75mm x 50mm Dia Reducer | 21 | 0% | 21 | EA | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  | 50mm x 40mm Dia Reducer | 100 | 0% | 100 | EA | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  | 75mm x 40mm Dia Reducer | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  | 40mm Dia Tee | 103 | 0% | 103 | EA | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN
Corrugated Steel Pipe (CSP) (ASSUMED)
PIPES
93 |  |  | 200mm Dia Rain Water Leader Pipe | 14.36 | 5% | 15.078 | M | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  | 150mm Dia Rain Water Leader Pipe | 32.58 | 5% | 34.209 | M | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  | 100mm Dia Rain Water Leader Pipe | 40.03 | 5% | 42.0315 | M | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
96 |  |  | 200mm x 150mm Dia Wye | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  | 150mm x 150mm Dia Wye | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  | 150mm Dia 45 Degree Elbow | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  | 100mm Dia 45 Degree Elbow | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
CONDENSATE DRAIN
Type M Copper Pipe W/ 1/2" Thick Fiberglass ASJ/SSL, JOHN MANVILLE MICRO-LOK PIPE INSULATION KNAUF (Assumed)
PIPES
100 |  |  | 20mm Dia Condensate Drain | 38.08 | 5% | 39.984 | M | 0 | 0 | 0 | 0 | 0 | 0
FITTINGS
101 |  |  | 20mm Dia 90 Degree Elbow | 68 | 0% | 68 | EA | 0 | 0 | 0 | 0 | 0 | 0
CLEANOUT & DRAINS
102 |  |  | 50mm Cleanout | 31 | 0% | 31 | EA | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  | 75mm Cleanout | 74 | 0% | 74 | EA | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  | 100mm Cleanout | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  | 150mm Cleanout | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  | 200mm Cleanout | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  | 12mm Cleanout | 30 | 0% | 30 | EA | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  | Fd-1: Floor Drain Manufacturer: Zurn Model No.: Zn —415— Bf— P | 46 | 0% | 46 | EA | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  | Fd-2: Floor Drain Manufacturer: Zurn Model No.: Zn—415—B—P | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  | Fd-3: Floor Drain Manufacturer: Zurn Model No.: Z-1739 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  | Rd-1: Roof Drain Manufacturer: Zurn Model No.: Z—100—150— C— Ea— R—Vp | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  | 75 mm Funnel Drain | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
P-TRAPS
113 |  |  | 75mm P-Trap | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  | 50mm P-Trap | 168 | 0% | 168 | EA | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES
115 |  |  | Bt—1: Bathtub Manufacturer: Acrylic Longevity Model No.: Horizon I 1560 Left Drain Colour: White | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  | Bt—2: Bathtub Manufacturer: Acrylic Longevity Model No.: Horizon I 1560 Right Drain Colour: White | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  | Bt—3: Bathtub Manufacturer: Acrylic Longevity Model No.: Horizon I1560 Right Drain Colour: White | 36 | 0% | 36 | EA | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  | Lav-1: Lavatory Manufacturer: Standard Model No.: Lucerne 0355.021 Colour: White | 41 | 0% | 41 | EA | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  | Lav-2: Lavatory Manufacturer: American Standard Model No.: Cadet 9494.1 00 Colour: White | 19 | 0% | 19 | EA | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  | Sh — 1: Shower Manufacturer: Longevity Acrylic Model No.: Heritage 9160 Colour: White | 7 | 0% | 7 | EA | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  | Sk-1: Sink Manufacturer: Franke Model No.: Albs7806P—1 Colour: S.S. | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  | Sk—2: Sink Manufacturer: Franke Model No.: Lbs78O6P-1 Colour: | 29 | 0% | 29 | EA | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  | Wc-1: Water Closet Manufacturer: American Standard Model No.: Cadet Flowise 2467.100 Colour: White | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  | Wc—2: Water Closet Manufacturer: American Standard Model No.: Cadet Flowise 2462.100 Colour: White | 17 | 0% | 17 | EA | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  | Ms— 1: Mop Sink Manufacturer: American Standard Model No.: 7741 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
PUMP
126 |  |  | P-1: Circulator Pump Manufacturer: Bell & Gossett Model: ECOCIRC XL 20-35 | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
HOSE BIB
127 |  |  | Hb: Hose Bibb Manufacturer: Watts Model No.: N/A | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
WATER HEATER
128 |  |  | HWT-1: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  | HWT-2: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
130 |  |  | HWT-3: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
131 |  |  | HWT-4: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
132 |  |  | HWT-5: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
133 |  |  | HWT-6: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
134 |  |  | HWT-7: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
135 |  |  | HWT-8: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
136 |  |  | HWT-9: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
137 |  |  | HWT-10: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  | HWT-11: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  | HWT-12: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
140 |  |  | HWT-13: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
141 |  |  | HWT-14: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  | HWT-15: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
143 |  |  | HWT-16: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
144 |  |  | HWT-17: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
145 |  |  | HWT-18: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
146 |  |  | HWT-19: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  | HWT-20: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
148 |  |  | HWT-21: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
149 |  |  | HWT-22: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
150 |  |  | HWT-23: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  | HWT-24: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
152 |  |  | HWT-25: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  | HWT-26: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  | HWT-27: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
155 |  |  | HWT-28: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  | HWT-29: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
157 |  |  | HWT-30: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
158 |  |  | HWT-31: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
159 |  |  | HWT-32: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
160 |  |  | HWT-33: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
161 |  |  | HWT-34: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
162 |  |  | HWT-35: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
163 |  |  | HWT-36: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
164 |  |  | HWT-37: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
165 |  |  | HWT-38: Domestic Water Tank MODEL: GIANT 142STE-2F7M | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
EXPANSION TANK
166 |  |  | Expansion Tank Model: Zurn Xt-8 Capacity: 2.1 Gallon | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
VALVES
167 |  |  | 20mm Ball Valve | 90 | 0% | 90 | EA | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  | 20mm Ball Valve | 87 | 0% | 87 | EA | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  | 20mm Ball Valve | 40 | 0% | 40 | EA | 0 | 0 | 0 | 0 | 0 | 0
170 |  |  | 12mm Ball Valve | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  | 20mm Check Valve | 30 | 0% | 30 | EA | 0 | 0 | 0 | 0 | 0 | 0
172 |  |  | 20mm Check Valve | 29 | 0% | 29 | EA | 0 | 0 | 0 | 0 | 0 | 0
173 |  |  | 20mm Check Valve | 16 | 0% | 16 | EA | 0 | 0 | 0 | 0 | 0 | 0
174 |  |  | 12mm Shutoff Valve | 90 | 0% | 90 | EA | 0 | 0 | 0 | 0 | 0 | 0
175 |  |  | 20mm Union | 60 | 0% | 60 | EA | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  | 75mm Os&Y Gate Valve. | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
177 |  |  | 12mm Trap Primer Valve | 90 | 0% | 90 | EA | 0 | 0 | 0 | 0 | 0 | 0
178 |  |  | 75mm Isolated Shut-Off Valve | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  | 75mm Monitored Isolation Os&Y Gate Valve. | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
180 |  |  | 20mm Pressure And Temperature Relief Valve | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
Misc.
181 |  |  | 12mm Water Arrestor | 369 | 0% | 369 | EA | 0 | 0 | 0 | 0 | 0 | 0
182 |  |  | Shock Absorber | 34 | 0% | 34 | EA | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  | Vacuum Breaker | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
184 |  |  | 65mm Backflow Prevention (Bfp) | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
185 |  |  | Back-Siphonage Backflow Preventer With 20Mm. Std. Male Hose Thread Connection. | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
186 |  |  | Symmons Lm-600 Laundry Mate Washing Machine Valve C/W Stops | 6 | 0% | 6 | EA | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  | 12mm Shock Absorbers C/W Access Door | 12 | 0% | 12 | EA | 0 | 0 | 0 | 0 | 0 | 0
188 |  |  | 750mm High Pipe Supports | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  | Air Gap Fitting | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  | 75mm Reducer | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  | 75mm Strainer | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  | Test Tee connection | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0
193 |  |  | 75mm Funnel & Floor Drain | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  | Corrosion-Resistant Watertight 100Mm High Drain Pan. C/W 20mm Drain Routed To Floor Drain. | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  | Tank Drain With Hose Connection | 38 | 0% | 38 | EA | 0 | 0 | 0 | 0 | 0 | 0
INSULATION
196 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 150mm Pipe | 9.4 | 5% | 9.87 | M | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 75mm Pipe | 13.91 | 5% | 14.6055 | M | 0 | 0 | 0 | 0 | 0 | 0
198 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 65mm Pipe | 14.74 | 5% | 15.477 | M | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 50mm Pipe | 48.52 | 5% | 50.946 | M | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 40mm Pipe | 28.51 | 5% | 29.9355 | M | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 32mm Pipe | 26 | 5% | 27.3 | M | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 20mm Pipe | 1023.07 | 5% | 1074.2235 | M | 0 | 0 | 0 | 0 | 0 | 0
203 |  |  | 25 mm Thick Dual Temperature Class Fibre Pipe Insulation For 12mm Pipe | 1921.67 | 5% | 2017.7535 | M | 0 | 0 | 0 | 0 | 0 | 0
HANGER ROD
204 |  |  | 12mm Dia Clevis hanger w/ 9mm thread rod | 1282 | 0% | 1282 | EA | 0 | 0 | 0 | 0 | 0 | 0
205 |  |  | 20mm Dia Clevis hanger w/ 9mm thread rod | 683 | 0% | 683 | EA | 0 | 0 | 0 | 0 | 0 | 0
206 |  |  | 32mm Dia Clevis hanger w/ 9mm thread rod | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0
207 |  |  | 40mm Dia Clevis hanger w/ 12mm thread rod | 332 | 0% | 332 | EA | 0 | 0 | 0 | 0 | 0 | 0
208 |  |  | 50mm Dia Clevis hanger w/ 12mm thread rod | 21 | 0% | 21 | EA | 0 | 0 | 0 | 0 | 0 | 0
209 |  |  | 65mm Dia Clevis hanger w/ 12mm thread rod | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
210 |  |  | 75mm Dia Clevis hanger w/ 12mm thread rod | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0
211 |  |  | 150mm Dia Clevis hanger w/ 12mm thread rod | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING
212 |  |  | Trenching & Backfillings | 6.19 | 0% | 6.19 | CM | 0 | 0 | 0 | 0 | 0 | 0
|  |  | SUBTOTAL | [9 empty] | 0
|  |  | TOTAL AMOUNT | [9 empty] | 0
|  |  | CONTIGENCIES (5%) |  |  |  |  | 5% |  |  |  |  | 0
|  |  | OVERHEAD & PROFIT (15%) |  |  |  |  | 15% |  |  |  |  | 0
|  |  | TAX (15%) |  |  |  |  | 15% |  |  |  |  | 0
|  |  | TOTAL BASEBID | [9 empty] | 0